## Reagents
Step | Item | Item Code | Supplier | Approx. Cost* | Approx. Samples Per Unit | Number for ~400 samples** | Notes
DNA Extraction | Qiagen DNA Investigator Kit [50] | 56504 | Qiagen | 314 | 50 | 10 | We have only really explored Qiagen extraction. Chelex yields more DNA, but tends to be of lower quality. Probably any Qiagen extraction is fine.
DNA QC | Qubit™ 1X dsDNA High Sensitivity (HS) [500] | Q33231 | Invitrogen | 366 | 500 | 1 | Samples very approximate, when we are piloting we usually do >1 reading per sample during preparation. Once things are established, we don't read every sample all the time.
Agarose Gel QC | 1kbp Ladder | SM0313 | ThermoFisher | 64.75 |  | 1 | Some teams don't have a 1kbp ladder, our amplicons are 3-4kbp so this is helpful.
sWGA | sWGA Primer Mix | - | IDT | 87.7 |  | 1
sWGA | phi29 DNA polymerase | M0269L | NEB | 200.46 | 125 | 5
sWGA | NEB Dexoynucleotide (dNTP) solution mix | N0447L | NEB | 211.38 | 800 | 2
PCR | KAPA HiFi HotStart ReadyMix PCR Kit (1.25mL) | KK2601 | Roche | 105.8 | 100 | 5 | KAPA is the high fidelity polymerase we are using for the multiplex PCR. We are switching from the KK2101 to KK2601 kit; the later is a premix which minimises pipetting. We are pretty sure it works equivalently.
PCR | NOMADS8/16 Multiplex Primers | - | IDT | 74.6 |  | 1
Sample Barcoding | NEBNext Ultra II DNA Library Kit with purification beads 96 | E7103L | NEB | 2419 | 480 | 1 | This contains everything for the sample barcoding preparation and ligation reaction, plus a backup polymerase.
Adapter Ligation | NEBNext Quick Ligation Module | E6056L | NEB | 1328 | 9600 | 1 | You can probably get the smaller kit size, this does almost 10k samples.
Library Prep & Sequencing | MinION Enhanced Starter Pack, including: | - | ONT | 3106 | 400 | 1 | This includes a MinION, four R10.4.1 flow cells, a sequecing kit of your choice, and a wash kit. I think would be nice to get the rapid kit here, since you can buy the ligation kit separate and the rapid kit is helpful for quick sequencing / trouble shooting.
| R10.4.1 Flow Cell [4] | FLO-MIN114 | ONT | 0
| Rapid Barcoding Kit 24 V14 | SQK-RBK114.24 | ONT | 0
Library Prep & Sequencing | Native Barcoding Kit 96 V14 | SQK-NBD114.96 | ONT | 760 | 400 | 1 | This includes the barcodes needed for running multiple samples on a flow cell.
Library Prep & Sequencing | Flow Cell Wash Kit | EXP-WSH004 | ONT | 95 |  | 2 | These are really cheap, and you can use them to wash the flow cells a few times to get more out of them.
|  |  |  | *What it costs to order at Max Planck. |  | **For some items we are exceeding 400 samples; this can be helpful for toubleshooting / technical replicates.

## Plasticware & General
Category | Generic Item | Specific Example
|  | Item | Item Code | Supplier | Approx. Cost | Notes
Lab | Sterile Water | DEPC Treated Water 5 x 100mL | AM9916 | ThermoFisher | 160.2
Lab | Ethanol
Lab | Tris pH 80.0 Low-EDTA | TE Buffer, 1X Solution pH 8.0, Low EDTA, Molecular Biology Grade | J75793.AP | ThermoFisher | 87 | Not strictly necessary, but a Tris buffered solution with low EDTA is better for storing primers and the sWGA. Can also be made from powder Tris and EDTA.
Plasticware | - | Qubit Assay Tubes [500] | Q32856 | ThermoFisher | 110.58
Plasticware | 1.5mL Microcentrifuge Tubes | Eppendorf DNA LoBind Tubes (1.5mL) [250] | 30108051 | Eppendorf / ThermoFisher | 11.68
Plasticware | PCR Strip Tubes |  |  |  |  | Good for low numbers of samples, and aliquoting master mixes.
Plasticware | PCR 96-well Plate | X25 TWINTEC PCR PLATE 96 LOBIND SKIRTED | 15280735 | ThermoFisher | 127 | Verify your thermocycler can take skirted plates before ordering. If the block can only hold unskirted plates, then this line needs to be adjusted, as does the 96-plate magent in Equipment.
Plasticware | PCR Plate Adhesive Seal | Adhesive Plate Seals | AB0558 | ThermoFisher | 101.32
Plasticware | Filtered Pipette Tips (p1000) | Neptune Filtertips | 976-1250 | Steinbrenner GmbH | 63 | DNA/RNA-free, RNase/DNase-free
Plasticware | Filtered Pipette Tips (p200) | Neptune Filtertips | 976-200 | Steinbrenner GmbH | 63 | DNA/RNA-free, RNase/DNase-free
Plasticware | Filtered Pipette Tips (p20) | Neptune Filtertips | 976-020 | Steinbrenner GmbH | 63 | DNA/RNA-free, RNase/DNase-free
Plasticware | Filtered Pipette Tips (p10) | Neptune Filtertips | 976-010XL | Steinbrenner GmbH | 63 | DNA/RNA-free, RNase/DNase-free
Plasticware | Reservoir (>25mL)

## Equipment
Category | Item | Item Code | Supplier | Approx. Cost | Notes
Sequencing | Qubit 4 | Q33238 | ThermoFisher | 3286 | This is for the Qubit 4, but an older model is fine. But ThermoFisher is only selling the Qubit 4 now as far as I can tell.
Sequencing | DynaMag™-2 Magnet | 12321D | Invitrogen | 710 | For magnets, these are very expensive. However, they last forever and are used at a critical step. May be cheaper alternatives to explore.
Sequencing | DynaMag™-96 Side Skirted Magnet | 12027 | Invitrogen | 948 | Same note as above.
Sequencing | Laptop with a Nvidia GPU
Sequencing | LaCie Rugged 4TB | STFR4000800 | LaCie | 189 | Depends on how you want to store your data, but an external drive can be helpful.
Sequencing | Multichannel Pipette (p20)
Sequencing | Multichannel Pipette (p200)
Sequencing | Cold block for 1.5mL tubes
Sequencing | Cold block for 95-well plate